## WTG Yield Wake
WTG 1
Diameter |  | 280 | m
Swept area |  |  | m^2
Rated power |  | 20 | MW
Power density rotor |  |  | W/m^2
Rated rotor speed |  | 7 | rpm
Rated tip speed |  |  | m/s
Hub height |  | 160 | m
# of WTGs:
WTG 1 Parameters*) |  |  |  |  | Offshore Site 1 |  |  | 80
Wind speed | Power in the Wind | WTG Power | C_P | C_T | Free windspeed at hub height | Time | Gross Yield | Park Efficiency | Gross Yield incl. Wake Loss
(m/s) | (MW) | (MW) |  |  | (m/s) | % of year | (MWh/year) | % | (MWh/year)
|  | 0 |  | 0 | 0.5 | 0.652
|  | 0 |  | 0 | 1.5 | 1.735
|  | 0 |  | 0 | 2.5 | 3.356
|  | 0.437 |  | 0.855 | 3.5 | 4.832 |  | 48.94%
|  | 1.423 |  | 0.855 | 4.5 | 6.39 |  | 56.66%
|  | 2.83 |  | 0.855 | 5.5 | 7.657 |  | 61.63%
|  | 4.772 |  | 0.858 | 6.5 | 8.732 |  | 63.67%
|  | 7.46 |  | 0.863 | 7.5 | 9.448 |  | 64.58%
|  | 10.949 |  | 0.84 | 8.5 | 9.619 |  | 66.2%
|  | 14.623 |  | 0.752 | 9.5 | 9.123 |  | 69.86%
|  | 17.73 |  | 0.641 | 10.5 | 8.192 |  | 75.62%
|  | 19.442 |  | 0.521 | 11.5 | 7.082 |  | 83.77%
|  | 19.921 |  | 0.402 | 12.5 | 5.825 |  | 91.79%
|  | 19.991 |  | 0.309 | 13.5 | 4.558 |  | 96.66%
|  | 20 |  | 0.244 | 14.5 | 3.373 |  | 99.18%
|  | 20 |  | 0.197 | 15.5 | 2.414 |  | 99.94%
|  | 20 |  | 0.162 | 16.5 | 1.801 |  | 99.94%
|  | 20 |  | 0.136 | 17.5 | 1.415 |  | 99.94%
|  | 20 |  | 0.116 | 18.5 | 1.146 |  | 99.94%
|  | 20 |  | 0.1 | 19.5 | 0.864 |  | 99.94%
|  | 20 |  | 0.088 | 20.5 | 0.612 |  | 99.94%
|  | 20 |  | 0.078 | 21.5 | 0.435 |  | 99.94%
|  | 20 |  | 0.07 | 22.5 | 0.294 |  | 99.94%
|  | 18.4 |  | 0.058 | 23.5 | 0.181 |  | 104%
|  | 15.2 |  | 0.044 | 24.5 | 0.109 |  | 104%
|  | 12 |  | 0.033 | 25.5 | 0.071 |  | 104%
|  | 8.8 |  | 0.023 | 26.5 | 0.039 |  | 104%
|  | 5.6 |  | 0.0015 | 27.5 | 0.027 |  | 104%
|  | 0 |  | 0 | 28.5 | 0.018 | 0 | 0%
*) C_P provided here is assumed to include all WTG aerodynamic, drive train and internal electrical losses. | [9 empty] | MWh/year
[7 empty] | WTG |  | Park
Capacity Factor

## IAC
Cable 1 |  |  | 400 mm2 | 0.101 | Ohm/km
Cable 2 |  |  | 630 mm2 | 0.063 | Ohm/km
Cable 3 |  |  | 800 mm2 | 0.037 | Ohm/km
|  |  | WTG 1 | WTG 2 | WTG 3 | WTG 4
WTG Nominal Power [MVA] |  |  | 21.1 | 21.1 | 21.1 | 21.1
IAC Voltage kV |  |  | 66
# WTGs on IAC Section |  |  | 1 | 2 | 3 | 4
Nominal Current [A] on IAC Section
IAC Section Cable 1 / 2 / 3 |  |  | 1 | 1 | 2 | 3
Resistance [Ohm/km]
|  |  | km | km | km | km
String Section Length [km] |  |  | 2.5 | 2.5 | 2 | 1.5
Free Wind Speed | Power | [5 empty] | P_loss | hours | Loss
(m/s) | MW | MVA |  |  |  |  | [kW] |  | [MWh/year]
0.5 |  |  | 0 | 0 | 0 | 0 |  | 57
1.5 |  |  | 0 | 0 | 0 | 0
2.5 |  |  | 0 | 0 | 0 | 0
3.5
4.5
5.5
6.5
7.5
8.5
9.5
10.5
11.5
12.5
13.5
14.5
15.5
16.5
17.5
18.5
19.5
20.5
21.5
22.5
23.5
24.5
25.5
26.5
27.5
28.5 | [7 empty] | 1
h/year
IAC String Losses (MWh/year) | [9 empty] | MWh/year
WTG Energy Yield (MWh/year) | [9 empty] | MWh/year
Losses (% WTG Energy Yield/year) | [9 empty] | /year
Yellow cells completed by notebook part2_iac_losses.ipynb (cos phi = 0.95, cheapest cable per section)